## Slide 2
DO
3.5 mg/l - 90 s
4.0 mg/L - 90 s
4.0 mg/L - 300 s
Total Sample Variance
0e+00
2e+04
4e+04
6e+04
8e+04
1e+05

## Slide 3
Difference of TSV
Observed difference 13637
-10000
-5000
0
5000
10000
0.00000
0.00004
0.00008
0.00012
Ratio of TSV
Observed ratio 1.14
0.90
0.95
1.00
1.05
1.10
0
2
4
6
8
10
12
3.5 vs DO

## Slide 4
Difference of TSV
Observed difference 32967
-10000
0
10000
20000
30000
0.00000
0.00005
0.00010
0.00015
Ratio of TSV
Observed ratio 1.49
0.9
1.0
1.1
1.2
1.3
1.4
1.5
0
5
10
15
DO vs 4.0 - 90

## Slide 5
Difference of TSV
Observed difference 19201
-5000
0
5000
10000
15000
20000
0.00000
0.00005
0.00010
0.00015
0.00020
0.00025
Ratio of TSV
Observed ratio 1.4
0.9
1.0
1.1
1.2
1.3
1.4
0
5
10
15
4.0 - 90 vs 4.0 - 300

## Slide 6
1
2
3
4
5
6
DO
Sun
Tue
Thu
Sat

## Slide 7
0
1
2
3
4
5
4.0 mg/L - 90
Mon
Wed
Fri
Sun

## Slide 8
0
1
2
3
4
5
6
4.0 mg/L - 300
Tue
Thu
Sat
Mon

## Slide 9
1
3
5
DO
Sun
Tue
Thu
Sat
0
2
4
4.0 mg/L - 90
Mon
Wed
Fri
Sun
0
2
4
6
4.0 mg/L - 300
Tue
Thu
Sat
Mon

## Slide 10
2
4
6
8
10
3.5 mg/L - 90
Sun
Tue
Thu
Sat

## Slide 11
1
3
5
DO
Sun
Tue
Thu
Sat
2
6
10
3.5 mg/L - 90
Sun
Tue
Thu
Sat
0
2
4
4.0 mg/L - 90
Mon
Wed
Fri
Sun

## Slide 12
-0.5
0.0
0.5
1.0
Days
ACF
0
1
2
3
AB3 Z7 Ammonia

## Slide 13
10
20
30
40
50
60
70
0.0
0.4
0.8
AB3-4-300: 3day Window, Model Component R^2
Forecast Horizon (minutes)
R-squared
Diurnal
Adaptive
Total
10
20
30
40
50
60
70
0.0
0.4
0.8
Model Component R-squared for 4.0 mg/L - 300 s
Forecast Horizon (minutes)
R-squared
Diurnal
Adaptive
Total

## Slide 14
-0.2
0.2
0.6
1.0
Days
ACF
0
1
2
3
AB3 Z7 Ammonia

## Slide 16
Influent Flow
Z3 Nitrate
Zone 6 Valve Position
Influent Ammonia
Z8 DO
(Intercept)
Z9 Nitrate
Z7 Ammonia 1
Z6 DO
Residual Z7 Ammonia
Zone 9 Valve Position
GLM Coefficient Absolute Value
0.0
0.2
0.4
0.6
0.8
1.0
1.2
1.4

## Slide 17
0.2
0.4
0.6
0.8
Sat
Sun
Mon
Tue
35
40
45
50
55
60
Influent Ammonia
AB3-4-300: 3day Window, R^2 by Horizon
R squared
5 min
10 min
15 min
20 min
25 min
30 min
35 min
40 min
45 min
50 min
55 min
60 min
65 min
70 min
75 min
Diurnal
Ammonia

## Slide 18
0.2
0.4
0.6
0.8
Sat
Sun
Mon
Tue
35
40
45
50
55
60
Influent Ammonia
AB3-4-300: 3day Window, R^2 by Horizon
R squared

## Slide 19
0
1
2
3
4
5
Sat
Sun
Mon
Tue
AB3-4-300: 3day Window, 50 Minute Forecasts
Ammonia Zone 7 (mg/L)
Actual
Model

## Slide 20
-1.5
-1.0
-0.5
0.0
0.5
1.0
1.5
Sat
Sun
Mon
Tue
AB3-4-300: 3day Window, 50 Minute Errors
Ammonia Errors (mg/L)
Model
Persistence

## Slide 21
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
0
2
4
6
8
10
12
Hour of the Day
Ammonia (mg/L N)
Diurnal Trend in Ammonia in Zone 7

## Slide 22
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
-2
-1
0
1
2
3
Hour of the Day
Adjusted Ammonia
Diurnal Trend in Ammonia in Zone 7

## Slide 23
Influent Flow
Zone 6 Valve Position
Influent Ammonia
Z3 Nitrate
Z8 DO
Z7 Ammonia 1
(Intercept)
Z6 DO
Residual Z7 Ammonia
GLM Coefficient Absolute Value
0.0
0.2
0.4
0.6

## Slide 24
2
4
6
8
ab3_do
01/01
01/02
01/03
01/04
01/05
Z7 Ammonia (mg/L N)
1.5
2.0
2.5
3.0
Z6 DO (mg/L)

## Slide 25
2
4
6
ab3_3.5
04/18
04/19
04/20
04/21
04/22
Z7 Ammonia (mg/L N)
1.5
2.0
2.5
3.0
Z6 DO (mg/L)

## Slide 26
0
1
2
3
4
5
6
ab3_4.0
04/30
05/01
05/02
05/03
05/04
Z7 Ammonia (mg/L N)
1.0
1.5
2.0
2.5
Z6 DO (mg/L)

## Slide 27
0
1
2
3
4
5
6
ab3_4.0_300
05/14
05/15
05/16
05/17
05/18
Z7 Ammonia (mg/L N)
1.0
1.5
2.0
2.5
Z6 DO (mg/L)

## Slide 28
0
500
1000
1500
2000
2500
Days
Total Airflow (SCFM)
0
5
10
15
20
Z7 Ammonia (mg/L N)